## Oceania - Qualifying (>=50MW)
Terminal | Terminal ID | Country | Status | Hardware Type | Individual Unit MW | Aggregate/Total MW | Qualifying Basis | References
Australia Pacific LNG Terminal | T100000130327 | Australia | operating | Seven Bechtel-installed gas turbine generators (~15 MW each) supplying the electrical power for the two Curtis Island LNG processing trains; unit sizing (~15 MW each) is consistent with a small/genset-class turbine rather than a heavy-duty industrial frame unit. | ~15 MW per unit (below 50 MW threshold individually) | ~105 MW combined (7 x ~15 MW) | Aggregate >=50 MW (genset/small-turbine rule) -- JUDGMENT CALL: turbine model is not named in the source; aggregate treatment is inferred from unit size (~15 MW, below any heavy-duty frame class) rather than a documented aeroderivative label. Flag for review. | https://www.lngindustry.com/liquefaction/22042015/aplng-starts-first-gas-generator-629/
Gladstone LNG Terminal | T100000130333 | Australia | operating | Six gas turbine generators on Curtis Island (~12 MW each) providing the plant's permanent electrical power supply, running compressors, pumps, and other heavy electrical equipment; unit sizing (~12 MW each) is consistent with a small/genset-class turbine rather than a heavy-duty industrial frame unit. | ~12 MW per unit (below 50 MW threshold individually) | ~72 MW combined (6 x ~12 MW) | Aggregate >=50 MW (genset/small-turbine rule) -- JUDGMENT CALL: same reasoning as Australia Pacific LNG (model not named, aggregate inferred from small unit size). Flag for review. | https://www.lngindustry.com/liquid-natural-gas/10042015/santos-starts-up-generators-on-curtis-island-571/
Gorgon LNG Terminal | T100000130334 | Australia | operating; cancelled (unspecified expansion/component only -- the terminal-level facility remains active and operating, so it is not excluded on status) | Five on-site gas turbine generators on Barrow Island generating up to 584 MW combined at full output, powering the Gorgon LNG/domestic-gas processing complex -- Chevron Australia's managing director described the output as comparable in scale to the Kwinana power station supplying greater Perth, consistent with heavy-duty industrial frame-class turbines. | ~117 MW per unit (computed: 584 MW / 5 units), consistent with heavy-duty frame-class turbine territory | 584 MW combined at full output | Qualifies both ways: individual >=50 MW (heavy-duty single units, ~117 MW each) and aggregate >=50 MW (584 MW total). No material judgment call -- both figures clear the threshold comfortably. | https://thewest.com.au/news/wa/chevron-celebrates-turbine-start-up-ng-ya-388775
Wheatstone LNG Terminal | T100000130344 | Australia | operating | 12x GE LM6000PF aero-derivative gas turbines (6 per LNG train, 2 trains) in pure mechanical-drive service, directly shaft-driving the ConocoPhillips Optimized Cascade refrigeration compressors with no electricity generated -- the first industrial application of the LM6000PF; Train 2 was later upgraded to the higher-output LM6000PF+. | ~45-50 MW shaft each (LM6000PF class rating; Train 2 upgraded to the higher-output LM6000PF+; no site-specific figure published) | ~540-600 MW shaft across 12 units (class-rating aggregate) | Aggregate >=50 MW (aeroderivative rule; mechanical drive) -- 12 LM6000PF aeroderivative units aggregate far past the threshold regardless of where the individual unit falls in the ~45-50 MW class range. (Individually the PF/PF+ variant sits at/near 50 MW -- borderline, so the aggregate is the qualifying basis.) | https://www.bakerhughes.com/sites/bakerhughes/files/2020-04/20190130-TEC-WST-LNG19%20LM6000%20Techinical%20Paper.pdf
Papua New Guinea LNG Terminal | T100000130304 | Papua New Guinea | operating; cancelled (unspecified expansion/component only -- the terminal-level facility remains active and operating, so it is not excluded on status) | Multiple aero-derivative gas turbine generators (one held in standby) provide the plant's primary electrical power per PNG LNG's Environmental Impact Statement (Chapter 4, a primary regulatory filing), sized for a base load of 44,267 kW (LNG trains + storage + utilities + offsites + camps) with a design capacity up to 59,760 kW (20% growth + 15% contingency margin). Separately, aero-derivative gas turbines shaft-drive the refrigerant/liquefaction compressors (mechanical drive, no electricity generated). Diesel-engine generators are separate/non-gas, essential/black-start only, and out of scope. | Not itemized per unit | 44.267 MW current base load; design-sized generation capacity up to 59.76 MW | Aggregate >=50 MW (aeroderivative/genset rule) -- JUDGMENT CALL: qualification uses the EIS's design-sized generation capacity (~59.8 MW, built in to accommodate 20% growth + 15% contingency) rather than the 44.267 MW current base load, which alone would fall short of the 50 MW threshold. Flag for review. Separately-documented mechanical-drive turbines shaft-driving the compressors are not MW-quantified and are not needed to reach the qualifying call. | https://www.pnglng.com/media/PNG-LNG-Media/Files/Environment/EIS/eis_chapter04.pdf

## Oceania - Excluded
Terminal | Terminal ID | Country | Reason Excluded | MW Figure (if any) | References
Crib Point FSRU Terminal | T100000130330 | Australia | Cancelled - excluded per instruction. FSRU-mounted dual-fuel engines plus three gas-fired boilers were designed to run the vessel 'electrically isolated from Jetty,' generating its own power as the normal operating arrangement (per AGL/APA's own EES risk assessment), not shore-powered or contingency-only. No turbine/engine model or MW figure is disclosed, so no 'would qualify if active' determination can be made. | None disclosed | https://www.biosphere.org.au/wp-content/uploads/EES-Submission-26-Aug-1.pdf
Darwin LNG Terminal | T100000130331 | Australia | Idled (with a proposed restart/expansion component) -- status stated prominently per the mothballed/idle handling rule, not excluded outright on status. On-site gas turbine power-generation units are documented via a primary operator source (Santos, referenced in connection with a 2019 battery-integration project layered onto the 'existing power generation turbines'), but no individual or aggregate MW figure, unit count, or turbine model is disclosed. | None disclosed | https://www.santos.com/news/darwin-lng/
Ichthys FLNG Terminal | T100000130335 | Australia | No MW figure disclosed. INPEX's own project page states the Bladin Point onshore processing facility includes 'a combined cycle power plant' supplying electricity to the two LNG trains, LPG/condensate plants, and site utilities, but turbine count, model, and MW capacity are not published in this source. | None disclosed | https://www.inpex.com.au/projects/ichthys-lng/
North West Shelf LNG Terminal | T100000130337 | Australia | No MW figure disclosed. Aero-derivative gas turbine generators supply on-site electricity at the Karratha Gas Plant, confirmed as a distinct operating asset class by two independent sources (an offshore-technology.com project profile and a 2026 Boiling Cold cyclone-shutdown report), but turbine model, unit count, and individual/aggregate MW are not itemized in either. | None disclosed | https://www.offshore-technology.com/projects/northwestshelf/, https://www.boilingcold.com.au/cyclone-closes-woodsides-north-west-shelf-australias-largest-gas-plant/
Pluto LNG Terminal | T100000130338 | Australia | No MW figure disclosed. A dedicated gas-fired power generation facility is listed among Pluto LNG's on-site infrastructure, and Woodside's own Q2 2026 report (independently quoted by Energy Aspects) confirms a gas turbine generator synchronised to the on-site 'Pluto power grid' during Train 2 commissioning, but turbine model, count, and MW rating are not itemized in either source. | None disclosed | https://www.nsenergybusiness.com/projects/pluto-lng-expansion-burrup-australia/, https://www.energyaspects.com/resources/insights/pluto-lng-train-2-satellite-commissioning
Prelude FLNG Terminal | T100000130339 | Australia | No MW figure disclosed. Mitsubishi Heavy Industries supplied a dedicated power generation system alongside three compressor trains, and General Electric independently confirms it supplied two steam-turbine-driven compressors (mechanical drive, fed by steam from seven Kawasaki-supplied boilers), but turbine models and MW ratings for both the power-generation system and the mechanical-drive steam turbines are unitemized in either source. | None disclosed | https://www.nsenergybusiness.com/projects/prelude-flng-project/, https://www.ge.com/news/press-releases/ge-technology-selected-worlds-largest-floating-lng-platform
Queensland Curtis LNG Terminal | T100000130340 | Australia | No MW figure disclosed. GE's own press release documents 15 aero-derivative gas turbines driving 28 centrifugal compressors via gearboxes, plus generators, as integral parts of the QCLNG facility -- confirming both mechanical-drive compression and on-site electricity generation -- but individual/aggregate turbine models and MW ratings are not broken out, so the aggregate rule cannot be applied despite the named 'aero-derivative' fleet type. | None disclosed (aero-derivative gas turbines named, but no MW figure available to apply the aggregate rule) | https://www.ge.com/news/press-releases/ge-oil-gas-technology-used-first-ever-large-scale-production-lng-coal-seam-gas-0
Tassie Shoal LNG Terminal | T100000130343 | Australia | Shelved - excluded per instruction. The completed Pre-FEED design (WorleyParsons/Arup, with APCI liquefaction-technology input) specifies LM6000 aero-derivative gas turbine drivers for mechanical-drive refrigeration compression, plus a dedicated on-site 'Power Generation' process module feeding electric-driven compressors; turbine count and MW rating are not disclosed. JUDGMENT CALL: the named LM6000 model carries a general aero-derivative class rating of ~45-50 MW -- borderline at the 50 MW threshold and, unlike Wheatstone's higher-output LM6000PF/PF+ variant, not confidently at or above it -- so a 'would qualify if active' call is NOT made here. Flag for review. | None disclosed (LM6000 class rating ~45-50 MW, borderline against the 50 MW threshold; turbine count unknown) | https://www.melbana.com/site/cpfile/67397a6e-800f-4849-918f-a6856b91ee87/20210602TassieShoalLNGProjectFlyerMelbana.pdf, https://media.abnnewswire.net/media/en/docs/ASX-MEO-382230.pdf
Papua LNG Terminal | T100000130303 | Papua New Guinea | Shelved - excluded per instruction (recorded statuses are proposed and shelved with no operating status, so the project as a whole is treated as shelved at the terminal level). The developer's own site states the project is designed for zero Scope 2 emissions via on-site combined-cycle gas-fired power plant(s) generating all of the facility's electricity (the liquefaction trains use electric-drive compressors, not gas-turbine mechanical drive), but no generator count or MW figure is disclosed. | None disclosed | https://papualng.com.pg/sustainable-development/climate